| Course Title: |  |  | Power System-II (Stability and Fault Analysis) | L | T |  | P | Cr |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Course Code: |  |  | ELE342 | 3 | 0 |  | 0 | 3 |
| Course Objective: |  |  | This course provides a comprehensive understanding of the origin and development of ideas in power system. |  |  |  |  |  |
| Learning Outcomes: |  |  | After the completion of this course the participants would gain the knowledge of the system modeling and power flow analysis. The participants will learn how the symmetrical and unsymmetrical fault occurs and how it’s detrimental effect seen on power system. |  |  |  |  |  |
| Unit A | System Modelling: System modeling of synchronous machines, transformers, loads etc, per unit system, single line diagram of electrical networks, single phase impedance diagrams, line reactance diagrams, Formulation of impedance and admittance matrices for the electrical networks. |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 14 Hours |  |  |
| Unit B | Fault Analysis: Symmetrical Component transformation, construction of sequence networks of synchronous machines, transmission lines. Unsymmetrical Line-to-ground (LG), Line-to line (LL), double line to ground (LLG) faults using symmetrical components. Transients in Power Systems: Transient electric phenomenon, travelling waves, reflection & refraction of waves with different line termination, protection against dangerous pressure rises. |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 12 Hours |  |  |
| Unit C | Stability of Power System: Concepts of stability, power angle characteristics of synchronous, steady state and transient stability swing waves. Grounding: Grounded & Ungrounded neutral systems, solid grounding, resistance grounding, reactance grounding. Voltage transformer earthing. Harmonic suppressors, grounding practice, grounding of sub-station. |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 12 Hours |  |  |
| Unit D | Incidence and Network Matrices: Network graph, various incidence matrices, generalized element representation, primitive network and primitive network matrices, formation of various network matrices by Direct Inspection and singular transformations, interrelations between various incidence matrices and network Load-Flow Studies: Introduction, importance of load flow studies, classification of buses, load flow equations, iterative methods, computer algorithms and load flow solutions using Gauss Seidel and Newton Raphson load flow solutions, comparison of load flow solution methods. |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 12 Hours |  |  |
| Suggested Books: |  |  |  |  |  |  |  |  |
| - Elgerd, Olle Ingemar. "Electric energy systems theory: an introduction." (1982). - Kothari, Dwarkadas Pralhaddas, and I. J. Nagrath. Modern power system analysis. Tata McGraw-Hill Education, 2003. - Kothari, D. P., and I. J. Nagrath. Power system engineering. India: Tata McGraw-Hill, 2008. - Ram, Badri. Power system protection and switchgear. Tata McGraw-Hill Education, 2011. - Saadat, Hadi. Power system analysis. Vol. 2. McGraw-hill, 1999. - Gupta, B. R., and S. Chand. "Power system analysis and design." New Delhi, (2008). - Ravindranath, B., and M. Chander. Power system protection and switchgear. New Age International, 1977. - Hase, Yoshihide. Handbook of power system engineering. John Wiley & Sons, 2007. |  |  |  |  |  |  |  |  |

| Course Title: |  |  | Power System-II (Stability and Fault Analysis) | L | T |  | P | Cr |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Course Code: |  |  | ELE342 | 3 | 0 |  | 0 | 3 |
| Course Objective: |  |  | This course provides a comprehensive understanding of the origin and development of ideas in power system. |  |  |  |  |  |
| Learning Outcomes: |  |  | After the completion of this course the participants would gain the knowledge of the system modeling and power flow analysis. The participants will learn how the symmetrical and unsymmetrical fault occurs and how it’s detrimental effect seen on power system. |  |  |  |  |  |
| Unit A | System Modelling: System modeling of synchronous machines, transformers, loads etc, per unit system, single line diagram of electrical networks, single phase impedance diagrams, line reactance diagrams, Formulation of impedance and admittance matrices for the electrical networks. |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 14 Hours |  |  |
| Unit B | Fault Analysis: Symmetrical Component transformation, construction of sequence networks of synchronous machines, transmission lines. Unsymmetrical Line-to-ground (LG), Line-to line (LL), double line to ground (LLG) faults using symmetrical components. Transients in Power Systems: Transient electric phenomenon, travelling waves, reflection & refraction of waves with different line termination, protection against dangerous pressure rises. |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 12 Hours |  |  |
| Unit C | Stability of Power System: Concepts of stability, power angle characteristics of synchronous, steady state and transient stability swing waves. Grounding: Grounded & Ungrounded neutral systems, solid grounding, resistance grounding, reactance grounding. Voltage transformer earthing. Harmonic suppressors, grounding practice, grounding of sub-station. |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 12 Hours |  |  |
| Unit D | Incidence and Network Matrices: Network graph, various incidence matrices, generalized element representation, primitive network and primitive network matrices, formation of various network matrices by Direct Inspection and singular transformations, interrelations between various incidence matrices and network Load-Flow Studies: Introduction, importance of load flow studies, classification of buses, load flow equations, iterative methods, computer algorithms and load flow solutions using Gauss Seidel and Newton Raphson load flow solutions, comparison of load flow solution methods. |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 12 Hours |  |  |
| Suggested Books: |  |  |  |  |  |  |  |  |
| - Elgerd, Olle Ingemar. "Electric energy systems theory: an introduction." (1982). - Kothari, Dwarkadas Pralhaddas, and I. J. Nagrath. Modern power system analysis. Tata McGraw-Hill Education, 2003. - Kothari, D. P., and I. J. Nagrath. Power system engineering. India: Tata McGraw-Hill, 2008. - Ram, Badri. Power system protection and switchgear. Tata McGraw-Hill Education, 2011. - Saadat, Hadi. Power system analysis. Vol. 2. McGraw-hill, 1999. - Gupta, B. R., and S. Chand. "Power system analysis and design." New Delhi, (2008). - Ravindranath, B., and M. Chander. Power system protection and switchgear. New Age International, 1977. - Hase, Yoshihide. Handbook of power system engineering. John Wiley & Sons, 2007. |  |  |  |  |  |  |  |  |